COS Above Ceiling Punchlist 2

Biology 120

1. Register anchorage
2. Install speaker slack wire
3. Fix splay wire at NW corner (see masking tape)
4. Replace bent compression strut

Room 106 Phsy Prep Room

1. Remove masking tape from sprinkler head
2. Put cover on electrical junction box
3. Add sprinkler head (already spoke with Steve)
4. Add splay wire at compression strut

Room 112 Phys/Anatomy

1. Add compression strut at SW corner
2. Install new trapeze on 4 center along south wall main runner
3. Finish wall angle at cold room